## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
11 Shotleyfield View
Consett
County Durham
DH8 5AN
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-7062
DATE OF REPORT: 14/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7062
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 11 Shotleyfield View
Consett
County Durham
DH8 5AN
Carried Out On | 22/03/2021, 25/03/2021, 14/04/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Heating will not turn off.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7062
SECTION 3: Report
Heating on constantly. Boiler is a vaillant ecotec plus system boiler with a vaillant solar thermal dhw system. Checked all external controls with no faults showing, checked connections at pcb, pcb shorting to demand across controls with controls disconnected. Follow on work... New PCB required. Part number 0020132764 Boiler vaillant ecotec plus 615 vu GB 156/3-5 R1 Gc 41 044 45. Renewed pcb and found heating not circulating, zone valve in loft space not working g, replaced zone valve with Honeywell v4043 valve. Timer hanging off the wall in the cupboard due to broke back box. Replaced back box and fastened timer back to the wall.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7062
SECTION 4: Photos
Room / Area
Hallway cupboard
Description
Timer before
Notes
Room / Area
Hallway cupboard
Description
Timer after
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7062
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7062
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7062
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7062
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes