## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
9 Derwentdale Court
Blackhill
Consett
DH8 8PY
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7066
DATE OF REPORT: 23/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7066
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 9 Derwentdale Court
Blackhill
Consett
DH8 8PY
Carried Out On | 23/03/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Steve from ATS Group needs the heating isolating so he can install wetroom. Dave Ashton is required 23/03/2021

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7066
SECTION 3: Report
Attend site 0730 to isolate all services in bathroom Manage to turn off hot and cold services using the stop cocks bit find heating isolation not working had to turn plant off and drain off enough to snatch the pipework and fit 2 x quarter turn isolation valves, to enable pipework to be altered by outside contractor. Fill and vent and turn plant on and testvall ok Offsite 0945 complete Parts used 2 no 15mm quarter turn isolation valves

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7066
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7066
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7066
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7066
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7066
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes