## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
23 Adair Terrace
Mill Road
Chopwell
NE17 7HA
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-7068
DATE OF REPORT: 22/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7068
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 23 Adair Terrace
Mill Road
Chopwell
NE17 7HA
Carried Out On | 22/03/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
No heating or hot water. Boiler error showing S75 iss gr

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7068
SECTION 3: Report
Vaillant ecofit sustain, f75 fault Removed and cleaned pressure sensor! Re pressurized system and carried out operational checks. Boiler working on completion. Reoccurring issue! Advise to replace pressure sensor. Possible warranty repair! Part number 0020047118

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7068
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7068
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7068
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7068
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7068
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes