## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
13-35 Athlone Court
Blyth
Northumberland
NE24 1EW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7070
DATE OF REPORT: 22/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7070
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 13-35 Athlone Court
Blyth
Northumberland
NE24 1EW
Carried Out On | 22/03/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Advised by our heating engineer that one of the communal radiators is hissing. Please investigate.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7070
SECTION 3: Report
Attend sitec1615 for communal radiator making a noise Get access to building and find trv banging, had to strip of trv head to stop it chattering its a 1/2" in line drayton trv 4 . Advise that its changed when the new boiler is in stalled as a drain down would be needed. Parts required 1 no drayton trv 4 in line 1/2" Offsite 1700 fow

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7070
SECTION 4: Photos
Room / Area
Description
Notes
Drayton trv 4 needs replacement
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7070
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7070
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7070
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7070
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes