## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
13-35 Athlone Court
Blyth
Northumberland
NE24 1EW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7071
DATE OF REPORT: 22/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7071
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 13-35 Athlone Court
Blyth
Northumberland
NE24 1EW
Carried Out On | 22/03/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Repair radiator outside of flat 34 in corridor, making a hissing noise and is boiler hot. Unable to turn down as valve is missing. Flat 33 downstairs can hear it SRIR - Job Re-Issue Required (DRS) (02/03/21): Job Re-Issue Required: To be logged for commercial contractor to investigate/ change TRV on communal rads

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7071
SECTION 3: Report
Attend site 1700 find 2 x trv's chattering when closing down valves are Belmont trv's 1/2" . I advise these are changed when then boilervroom gets refitted, take heads off for the time being to stop the banging. Parts needed 2 no Belmont trv's 1/2" Offsite 1800 fow

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7071
SECTION 4: Photos
Room / Area
Description
Notes
Belmont 1/2" trv chattering when closing needs replacing there's 2 of these on the line
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7071
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7071
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7071
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7071
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes