## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Communal Area, 1-38 Moordale Court
Fabian Road
Middlesbrough
TS6 9RH
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7084
DATE OF REPORT: 26/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7084
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Communal Area, 1-38 Moordale Court
Fabian Road
Middlesbrough
TS6 9RH
Carried Out On | 26/03/2021
Survey Completed By | Lee Chatterton
SECTION 2: Introduction
Investigate issues with hot water (water getting scalding hot - reported by various tenants). Radiators in communal hallways on floors 1 & 2 also getting very hot and can't be turned down. ---- ---- As per Darren Newbould

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7084
SECTION 3: Report
LPC 26.3.21 0810 - 10.00 Arrived on site and gained access to building , proceeded to plantroom . Tested DHW controls , found that cylinder stat on LHS Calorifior , has been water damaged by valve above . Repaired leaking valve and removed stat for closer examination . The stat controls an actuator on a 2 port valve , the actuator has also failed ( will not close- permanently open) A new control stat and actuator have been orderd, from spencer at border heating . Checked BMS controls regarding heating , but trend user panel would not open. I have instructed Adam the BMS engineer to attend site , interagte the system and if possible repair.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7084
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7084
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7084
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7084
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7084
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes