## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
39 Carlton Court
Scorer Street
North Sheilds
NE29 0LB
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-7118
DATE OF REPORT: 26/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7118
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Unit 1 Hunslet Trading Estate
Servern Way
Hunslet
Leeds
LS10 1BL
Site Address | 39 Carlton Court
Scorer Street
North Sheilds
NE29 0LB
Carried Out On | 26/03/2021
Survey Completed By | Lee Chatterton
SECTION 2: Introduction
The boiler is making a clicking noise - when running the hot tap it only runs hot for a few seconds and then runs cold again. Please remedy. Please attend. No Covid 19.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7118
SECTION 3: Report
LPC 26.3.21 1510 - 1615 Attended site and gained access to house . Carried out a series tests on potterton boiler , located in kitchen . Found that DHW cartridge in diverter valve is leaking water , when plunged by actuator. Water has got into the actuator head as is affecting the micro switch within the head. Managed to carry out a temp fix and DHW now working , for over the weekend . New diverter valve cartridge and actuator req . Both ordered with Spencer at border heating , ready for collection early next week . Potterton Titanium 33 combi ERP Sn , RAC165030028CC

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7118
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7118
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7118
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7118
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7118
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes