## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
28 Stanley Court
Stanley
County Durham
DH9 6HD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7135
DATE OF REPORT: 20/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7135
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 28 Stanley Court
Stanley
County Durham
DH9 6HD
Carried Out On | 26/03/2021, 16/04/2021, 20/04/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Customer reports no heating. Property run from communal boiler

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7135
SECTION 3: Report
Attended job, discovered two port in flat was not longer working. Set two port valve to manual and explained to the tenant that’s someone will be out to replace it. Notified Dave Aston of find and sent pictures for him to proceed. ATTEND SITE 1445 no access tennant isn't in until late evening need to arrange access 2 port valve to be changed in bed room cupboard. Was unable to change as could only find isolation one side of the 2 port. tenant is around on mornings so first thing would be best time to get. Attend site 1330 isolate boilers and drain heating, gain access to flat and isolate electricity strip out the faulty 2vport valve and alter pipework to allow fitting of new 22mm honeywell 2 port valve. Fill and vent system re wire valve and show tennant how to operate the heating test all ok. Parts used 1 no honeywell 2 port 2 no 22mm x 15mm reducers van stock £5 1 no 1/2" mi -15mm copper van stock £2 1 no 1/2" fi - 15mm copper van stock £2 15mm copper van stock £9 Offsite 1600 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7135
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7135
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7135
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7135
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7135
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes