## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
25 Shotleyfield View
Consett
County Durham
DH8 5AN
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-7139
DATE OF REPORT: 29/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7139
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 25 Shotleyfield View
Consett
County Durham
DH8 5AN
Carried Out On | 26/03/2021, 28/03/2021, 29/03/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Toilet isn’t filling and won’t flush

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7139
SECTION 3: Report
Attended site to reports of issues with supply of water to the toilet, the toilet cistern is supplied with water via RWH system and the circulating (sump) pump was not operating, freed up and gained power for a short period of time until pump failure again. FOW required - Remove pump head and attempt repair, if unsuccessful replace pump. Zenith have arranged to attend first job Monday AM to complete works to fit in with tenants plans.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7139
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7139
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7139
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7139
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7139
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes