## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
25 Shotleyfield View
Consett
County Durham
DH8 5AN
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-7155
DATE OF REPORT: 09/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7155
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 25 Shotleyfield View
Consett
County Durham
DH8 5AN
Carried Out On | 29/03/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Toilet isnt filling and wont flush - job number off the back of 21-7139. DA changing water mains

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7155
SECTION 3: Report
Attend site 0800 find water harvesting not working. Couldn't get pump for 5 working days so start to change to mains water but when taking toilet out find the cold fill to the toilet blocked from the dirty water from the water harvesting tank.,clean this out and reassemble toilet and test all ok toilet now working. Offsite 11.45

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7155
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7155
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7155
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7155
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7155
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes