## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
55 Weavers Court
Swordy Drive
Alnwick
NE66 1SZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7160
DATE OF REPORT: 06/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7160
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 55 Weavers Court
Swordy Drive
Alnwick
NE66 1SZ
Carried Out On | 29/03/2021, 06/04/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Scheme Co-ordinator called to report no heating in bathroom since friday. Customers are elderly and vulnerable and bathroom is really cold. *Not available 31/03

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7160
SECTION 3: Report
Attend site 1415 for no heating Due to pressurisation unit having a fault over the weekend and system having no pressure the top floor flats have had no water in .... fill system and vent all and put all on test each component all ok Tennant now has heating all ok Offsite 1530 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7160
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7160
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7160
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7160
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7160
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes