## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Consett AFC
Belle Vue Stadium
Consett
DH8 7BF
CARRIED OUT ON BEHALF OF
Consett AFC
REPORT NUMBER: 21-7162
DATE OF REPORT: 07/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7162
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Consett AFC
Address | Belle Vue Stadium
Delves Lane
Consett
DH8 7BF
Site Address | Consett AFC
Belle Vue Stadium
Consett
DH8 7BF
Carried Out On | 02/06/2021, , 07/06/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Pipework repairs to the ASH pump pipework

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7162
SECTION 3: Report
Attend site after picking parts up (been on order since January) 1530 Strip out the lagging and cut out the faulty pipe attempt to use the new fittings but find these to be too big to insert, phone around and find crossings can get adapters to allow the connection of the 2 pipes, I have ordered these and will pick them up next week Offsite 1630 fow Onsite 0800 07/06/21 Pick up parts and attend site install new pipework using specialised adapter for the 32mm pipe , once installed the system had to be filled then purged and commissioned, System up and running when i left but the exposed pipework needs re lagging to make it weather proof this is a specialist job and I've asked tyne tees thermal to attend my contact is Nick Hunter for tyne tees thermal, I've forwarded pictures and site info for them to attend Offsite 1100 Parts used 1 no 28mm pipe 1 no 1"mail iron 1 no 1" female iron 1 no adaptor Various fittings

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7162
SECTION 4: Photos
Room / Area
Description
Notes
Dammaged pipework cut out
Room / Area
Description
Notes
Pipework repaired but needs lagging tyne thermal to attend to lag
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7162
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7162
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7162
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7162
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes