## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
20 Rothley Grange
Solway Avenue
Cullercoats
NE30 3AU
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-7177
DATE OF REPORT: 08/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7177
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Unit 1 Hunslet Trading Estate
Servern Way
Hunslet
Leeds
LS10 1BL
Site Address | 20 Rothley Grange
Solway Avenue
Cullercoats
NE30 3AU
Carried Out On | 31/03/2021
Survey Completed By | David Hunter
SECTION 2: Introduction
Solenoid stuck, unable to adjust so flat very hot. Please not solenoids 4 & 5 are labelled wrong

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7177
SECTION 3: Report
Attended site and found heating to be functional, instructed tenant to use vent axia unit to help circulate air within the flat. DH to liaise with tenant later today to check if tenant is now comfortable 31/3/21

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7177
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7177
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7177
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7177
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7177
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes