## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
2 Clifton Walk Bungalows
Beaumont Drive
Whitley Bay
NE25 9ZE
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-7183
DATE OF REPORT: 08/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7183
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Unit 1 Hunslet Trading Estate
Servern Way
Hunslet
Leeds
LS10 1BL
Site Address | 2 Clifton Walk Bungalows
Beaumont Drive
Whitley Bay
NE25 9ZE
Carried Out On | 30/03/2021
Survey Completed By | Lee Chatterton
SECTION 2: Introduction
Mrs Graham has reported she has no heating or hot water, boiler is showing error E1

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7183
SECTION 3: Report
LPC 30.3.21 1140 - 1205 Arrived on site and gained access to Bungalow , Potterton combi located in kitchen area . Foynd that appliance system pressure was low , topped up to correct pressure . Tested DHW & CH found to be working ok , monitored functions and performance.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7183
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7183
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7183
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7183
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7183
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes