## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 Sherburn Villas
Consett
County Durham
DH8 6DB
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7189
DATE OF REPORT: 31/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7189
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 4 Sherburn Villas
Consett
County Durham
DH8 6DB
Carried Out On | 31/03/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
Annual gas safety check CO Detector Service x1 Domestic Gas Boiler Service x1 Smoke Alarm Service x1 Smoke Alarm Service x1

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7189
SECTION 3: Report
Customer mentioned frequent issues with pressure, checked expansion vessel which is waterlogged indicating a split diaphragm. New expansion vessel required. Part number 181051

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7189
SECTION 4: Photos
Room / Area
Hall cupboard
Description
Flue sample points
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7189
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7189
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7189
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7189
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes