## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
46 Mayfield Park
Bristol Drive
Battle Hill
NE8 9BF
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-7195
DATE OF REPORT: 08/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7195
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | 46 Mayfield Park
Bristol Drive
Battle Hill
NE8 9BF
Carried Out On | 31/03/2021
Survey Completed By | David Hunter
SECTION 2: Introduction
FALSE

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7195
SECTION 3: Report
Attended site and found heating to be functional, instructed tenant to use vent axia unit to help circulate air within the flat. Follow on works to replace faulty under floor heating cartridges on site

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7195
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7195
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7195
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7195
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7195
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes