## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
29 Weavers Court
Swordy Drive
Alnwick
NE66 1SZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7197
DATE OF REPORT: 06/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7197
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 29 Weavers Court
Swordy Drive
Alnwick
NE66 1SZ
Carried Out On | 30/03/2021, 06/04/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Please could someone contact Zenith Mechanical and ask them to rebook the appointment for AirTech to come out and look at the ventilation system in this property ( the previous appointment made had to be cancelled ( Job: A0808199) as the resident was unwell). 21-6196

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7197
SECTION 3: Report
Vent axia button switched on in the kitchen to allow airflow within the flat. Heating manifold also isolated mechanically for now. Tenant to be checked in on tomorrow to see if any improvement. Attend to try and tie in a visit with nina the site manager and Joe Hill from vent axia, make phone calls and send emails, Joe needs to set up a visit with tennant 1630

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7197
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7197
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7197
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7197
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7197
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes