## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
25 Lynwood House
Durham Road
Lanchester
DH7 0LS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7201
DATE OF REPORT: 21/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7201
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 25 Lynwood House
Durham Road
Lanchester
DH7 0LS
Carried Out On | 01/04/2021, 15/04/2021,16/04/2021, 19/04/2021 21/04/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Underfloor Heating Valves. Unable to switch heating off. Zenith to attend. ongoing issue attended last week - tenant getting charged for heating - warm weather making it extremely uncomfortable in property ---- ---- no covid issue

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7201
SECTION 3: Report
Attend site 1600 for heating not turning off Gain access to flat and gain access to the underfloor heating manifold carry out tests and find living room and master bedroom underfloor heating cartridges not closing properly, will order 4 new and replacecall the actuators as the old ones look worn Will return when the parts come into wholesalers Offsite 1715 parts on order Pick up parts from wholesalers travel to site onsite 1500 Gain access to under floor heating cartridges and isolate and drain down , strip out all 4 restricters and cartridges replace , change all 4 actuators, fill system and commissioned and test all ok Parts used Uponor actuators x 4 Uponor cartridges x4 Uponor flow restricters x4 Offsite 1630 complete RB attended 16/4/21 When arriving on site power was still going to the actuator heads when stat was turned on. But the flow of heat was not there. When removing the heads the heating started to flow and the flow pipe started to warm. When heads were removed I turned the corresponding thermostat off and on but there seemed to be no movement in the actuator therefor would not allow the pin to move up and down changing the heat. Possibly a fault with the actuator heads. If someone from the office could please contact the tenant on Monday to let him know when someone will be attending to replace or repair. Attend 1530 19/04/21 For no heating investigate find the actuators supplied last week were 230v not 24v the boxes were 24v but the wrong parts inside I should of checked the correct parts are on order and will be in on Wednesday 21st I will fit these Wednesday last job Offsite 1630 fow Pick up parts attended site at 1500 Install correct 24v actuators instead ofv230v commission and test all ok Offsitec1600 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7201
SECTION 4: Photos
Room / Area
Description
Notes
All parts that were replaced
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7201
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7201
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7201
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7201
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes