## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 Ashdale Road
Consett
County Durham
DH8 6AZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7202
DATE OF REPORT: 07/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7202
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 4 Ashdale Road
Consett
County Durham
DH8 6AZ
Carried Out On | 31/03/2021, 01/04/2021, 06/04/2021, 07/04/2021
Survey Completed By | Adam McCallum
SECTION 2: Introduction
renew boiler still working at present

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7202
SECTION 3: Report
Boiler in currently is a valiant eco tec pro 28 System filter and scale reducer required Telescopic or 1m horizontal flue required Stand off bracket required 07/04/21 New pipe boxing fitted under boiler.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7202
SECTION 4: Photos
Room / Area
Description
Front door
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7202
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7202
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7202
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7202
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes