## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
108 Castledene Road
Delves Lane
Consett
DH8 7HJ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7203
DATE OF REPORT: 01/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7203
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 108 Castledene Road
Delves Lane
Consett
DH8 7HJ
Carried Out On | 01/04/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
Annual gas safety check Domestic Gas Boiler Service x1 Smoke Alarm Service x1 Smoke Alarm Service x1

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7203
SECTION 3: Report
No co alarm installed, no stock left on van

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7203
SECTION 4: Photos
Room / Area
Bedroom
Description
Flue sample points
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7203
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7203
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7203
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7203
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes