## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
8 Cheviot View
West Street
NE27 0RA
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-7283
DATE OF REPORT: 08/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7283
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | 8 Cheviot View
West Street
NE27 0RA
Carried Out On | 28/03/2021
Survey Completed By | David Hunter
SECTION 2: Introduction
Tenant calling on behalf of whole block, communal boiler not working and has been off for 2 hours. No heating or HW. Boiler is on outside of building. Elderly tenants on site.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7283
SECTION 3: Report
Attended site to find low pressure and pressure unit in fault. System water pressure topped up to operational levels and plant checked for correct function and a temperature rise before leaving site 2 hours out of hours

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7283
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7283
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7283
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7283
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7283
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes