## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 Aged Miners Homes
Eldon Bank Top
Shildon
DL4 2HN
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-7288
DATE OF REPORT: 02/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7288
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 1 Aged Miners Homes
Eldon Bank Top
Shildon
DL4 2HN
Carried Out On | 02/04/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
Shower is not working - new wet room fitted last week by another contractor

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7288
SECTION 3: Report
Shower not working. System bar thermostatic mixer. Tested shower, initially appears to work then shuts off, checked supply. No cold supply to bar mixer, looked for isolation valves in bathroom, kitchen, hall cupboard and loft space.... unable to locate isolation valves, possibly hidden behind tiles. Advise to pass back to original contractor asap.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7288
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7288
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7288
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7288
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7288
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes