## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1-24 Aldwych House
Commercial Road
South Shields
NE33 1UE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7299
DATE OF REPORT: 06/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7299
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1-24 Aldwych House
Commercial Road
South Shields
NE33 1UE
Carried Out On | 06/04/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
No heating or HW - Reported by flat 1

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7299
SECTION 3: Report
0945 Attend site for no heating or hot water Gain access after locating key safe , pick keys up and go to boiler room find no 1 boiler isolated and all other 3 locked out . Trave to main gas valve solinode closed reset and re set boilers wait for building to heat up .... various flanges leaking due to pipework cooling so tighten up bolts whilst waiting for heat to come through . Leave site all up to temp.1100 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7299
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7299
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7299
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7299
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7299
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes