## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
12 St James Court
Consett
County Durham
DH8 5YJ
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-7302
DATE OF REPORT: 06/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7302
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 12 St James Court
Consett
County Durham
DH8 5YJ
Carried Out On | 06/04/2021
Survey Completed By | Kieron Holmes
SECTION 2: Introduction
Pressure dropping on boiler asap please Contact daughter Mary Corr on Tel. 07743111823 iss gr

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7302
SECTION 3: Report
Expansion tank needed recharging as was at 0 bar. Repressurised to 1 bar. Prv looked dry. Topped boilernpressure back up. Advised to monitor.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7302
SECTION 4: Photos
Room / Area
Hallway cupboard
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7302
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7302
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7302
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7302
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes