## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Weavers Court
Swordy Drive
Alnwick
NE66 1FZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7303
DATE OF REPORT: 07/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7303
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Weavers Court
Swordy Drive
Alnwick
NE66 1FZ
Carried Out On | 07/04/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
New pressuriation unit - ZMS863

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7303
SECTION 3: Report
Travel 2 wholesalers x2 to collect parts attend site 0900 Isolate plantroom heating and drain down , strip out fluid automation pressurisation unit and install new lowra unit alter all pipework and connect into heating system . Alter wiring to enable operation and commission and test. Unit operation at 1.35 bar all ok Parts used 1 no lowera pressurisation unit 1 no pipe and fittings Offsite 1245 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7303
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7303
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7303
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7303
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7303
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes