## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Windsor Grange
Windsor Drive
Howdon
NE28 0NP
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-7334
DATE OF REPORT: 07/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7334
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Windsor Grange
Windsor Drive
Howdon
NE28 0NP
Carried Out On | 07/04/2021
Survey Completed By | Lee Chatterton
SECTION 2: Introduction
The white tank is leaking and there is quite a puddle on the floor I think its linked to the hot water boiler. Also the ASHP pump is showing a red light not sure if they are linked.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7334
SECTION 3: Report
LPC - CS 7.4.21 1125 Arrived on site and gained access to plantroom . Found area to be completely flooded, as expansion vessels failed on both water heaters. Isolated and made safe , left site called to suppliers and collected 2 x new vessels . Returned back to site altered pipe work to suite new vessels from TPS. Turned supply back on tested for leaks all ok , fired up and allowed time for DHW to recover . Pulled DHW through to taps in building , all ok . Reset controller on Air source unit , monitored functions and performance. Jobs complete. Left clean and tidy

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7334
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7334
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7334
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7334
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7334
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes