## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
16 The Lawns
Middlesbrough
TS4 3SA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7336
DATE OF REPORT: 11/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7336
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 16 The Lawns
Middlesbrough
TS4 3SA
Carried Out On | 30/04/2021,11/06/2021
Survey Completed By | Adam McCallum
SECTION 2: Introduction
We originally surveyed and replaced a cracked toilet. We were then notified of the leak and advised that it was from the toilet - but that did not seem to be the case on first visit. Subsequently an element of the garage ceiling was removed to identify if the leak was fixed (through tightening all joints) and if leak persisted - to identify its source. FOW required to reinstate the ceiling

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7336
SECTION 3: Report
LPC - CS 30.4.21 0830 - 1005 Arrived on site and gained access to property , proceeded to bathroom . Unable to test as Northumbria water has the water supply isolated the area . Found a split in the over flow pipe work on the combined waste on the bath . Also so no seal on the overflow waste itself , left site and collect parts from supplier Returned to site and fitted new combined waste / overflow, as req . But still unable to test further as no water supply present to entire area . Am 11.04.21 Re insulated ceiling space and fitted new fire proof plaster board. Client is happy its done.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7336
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7336
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7336
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7336
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7336
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes