## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Moorcroft
1-32 Bowman Drive
Dudley
NE23 7AS
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-7342
DATE OF REPORT: 08/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7342
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Moorcroft
1-32 Bowman Drive
Dudley
NE23 7AS
Carried Out On | 06/04/2021
Survey Completed By | David Hunter
SECTION 2: Introduction
Plant Room second Boiler Error E09 flashing

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7342
SECTION 3: Report
Attended site to find middle boiler in fault E09 central heating return temperature too high. BMS panel not showing a light when on is selected. Boiler sitting in status 8 on leaving site no boilers in fault when leaving site and site is up to temperature. Reoccurrence of this fault to be monitored over the coming days before completing job.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7342
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7342
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7342
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7342
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7342
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes