## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Thornbury
Front Street
Winlaton
NE21 4RE
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 21-7343
DATE OF REPORT: 13/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7343
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Thornbury
Front Street
Winlaton
NE21 4RE
Carried Out On | 07/04/2021, 08/04/2021, 13/04/2021
Survey Completed By | Lee Chatterton
SECTION 2: Introduction
Job Description - no heating in flat 15, communal boiler, rest is working fine, possible issue with thermostat, they have tried changing batteries and its flashing that heating is on but no heat from rads.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7343
SECTION 3: Report
LPC 13.4.21 1505- 1630 Called to border heating and collected actuator , then proceed to job. Arrived on site and gained access to flat 15 , fitted new actuator to CH side of HMI unit . Tested and monitored functions and performance of GMI unit and CH system. Tested all rads and freed off stuck TRV Found to be working ok , tennent happy .

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7343
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7343
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7343
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7343
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7343
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes