## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Chapelville
Front Street
Seaton Burn
NE13 6EH
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-7357
DATE OF REPORT: 15/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7357
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Chapelville
Front Street
Seaton Burn
NE13 6EH
Carried Out On | 25/02/2021, 15/04/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Water Heater Works - ZMS859

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7357
SECTION 3: Report
Travel to wholesalers to collect parts ordered by Lee Chatterton Arrive on site 0900 Isolate and drain down Dhw boiler no 2 strip out circulation pump and replace with new had had to alter the boiler casing as new pump is a grundfos pump and old one is a smedgaurd , photos supplied Recomission and test all ok water heater now fully operational Parts used 1 no grundfoss domestic circulator Offsite 1100 complete Assisted by Adam mallum

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7357
SECTION 4: Photos
Room / Area
Description
Notes
New pump sits proud of the water heater the cover had to be modified by Adam
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7357
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7357
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7357
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7357
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes