## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Carisbrooke Court
Chester Terrace
Sunderland
SR1 3SN
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 21-7358
DATE OF REPORT: 16/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7358
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Carisbrooke Court
Chester Terrace
Sunderland
SR1 3SN
Carried Out On | 16/04/2021
Survey Completed By | Lee Chatterton
SECTION 2: Introduction
Flat 17 - leaking heating pipe Commercial Boiler - St heating pipe leaking in the kitchen cupboard not much but a small amount the pipes are hot. ---- ---- Standard Callout for Commerical Boilers

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7358
SECTION 3: Report
LPC 16.4.21 1455 - 1630 Arrived on site and gained access to building ,proceeded to flat 17 . Spoke to Tennent who informed of the leaking pipe work , within the kitchen cupboard . Emptied cupboard for access and found leaking drain off valves . Carefully and slowly tightened up until they eventually stopped dripping . Monitored for leaks all ok , cleaned and dried out kitchen cupboard - fortunately no damage .

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7358
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7358
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7358
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7358
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7358
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes