## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Park House
Park Road
Sherburn
DH6 1EA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7361
DATE OF REPORT: 06/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7361
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Park House
Park Road
Sherburn
DH6 1EA
Carried Out On | 09/04/2021, 12/04/2021, 13/04/2021, 14/04/2021, 21/04/2021, , 27/04/2021, 05/07/2021, 06/07/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
FOWs from AGSC - (21-6344) Graham - 0401/00791339 - 28.37 & 5.58 Wolseley - 74421606 - 688.24 Wolseley - 74421752 - 44.57 Wolseley - 74421751 - 529.85 Graham 0401/00791428 54.98 Wolseley - 74421554 - 153.66 Wolseley - 74421553 - 764.44 Wolseley - 74432012 - 603.20 SKL Roofing - INV425 - 180.00 + 12.5% Wolseley - 744715118 - 15.56 Wolseley - 74455437 - 2361.74 Wolseley - 74454815 - 275.41

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7361
SECTION 3: Report
LPC 26.4.21 1135 - 1215 Arrived on site and gained access to building ,proceeded to recently installed boilers . The install is not complete as gas pipework unsupported, from gas meter to the appliances . PRV from Cylinder not connected , not ran to outside . Job reqs completing before gas cert or commission works can be carried out Asked by Dave Hunter to leave my Gas Annalyser on site , for him to use . Boilers or gas pipe work not worked on or tested today . Attend site 06/07/21 1430 Stripmout all boxing in , in pantry and install blow off pipework to cold water multi valve (15mm) terminated to outside drain, Reinstate boxing in after install Offsite 1630 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7361
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7361
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7361
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7361
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7361
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes