## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Rooms within house - Abbott House
1 Quarry Bank Court
Elswick
NE4 6HQ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7363
DATE OF REPORT: 09/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7363
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Rooms within house - Abbott House
1 Quarry Bank Court
Elswick
NE4 6HQ
Carried Out On | 09/04/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
No heating or hot water reported by c hood - advised to raise to zenith by work sch

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7363
SECTION 3: Report
Attend site 1045 for no heating or hot water Gain access find gas valve tripped reset and test all ok wait until all up to temp all ok. Offsite 1130 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7363
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7363
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7363
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7363
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7363
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes