## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
19 Eldon Court
Clavering Street
Wallsend
NE28 6SF
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-7401
DATE OF REPORT: 11/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7401
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | 19 Eldon Court
Clavering Street
Wallsend
NE28 6SF
Carried Out On | 11/04/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
Job Description - No Hot Water or Heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7401
SECTION 3: Report
Spoke to customer on arrival and was informed that the heating is working fine, the issue is no hot water to any of the apartments on that side of the building. On that information I proceeded to the plant room. Water heater temperature readings are 61⁰c flow and 51⁰ return. No fault indicators showing on the control board. Checked secondary hot water circulating pump, working. No Hot water in flats Ground floor 7-11 1st floor 14-26, hot water working in 1st floor flat 20, 2nd floor flats 30, 29,31, Hot water working and running in communal kitchen, 1st floor cleaners store and communal wc's. Traced issue to hot water riser from apt 11 to apt 18 above, cold water mixing with hot! isolated hot water on rise, no access to either property. Fow needed to establish which apartment the faulty valve is in.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7401
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7401
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7401
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7401
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7401
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes