## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
15 The Orchard
South Preston Grove
North Shields
NE29 0HB
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-7410
DATE OF REPORT: 12/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7410
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | 15 The Orchard
South Preston Grove
North Shields
NE29 0HB
Carried Out On | 12/04/2021
Survey Completed By | Lee Chatterton
SECTION 2: Introduction
URGENT:Engineer attended site as leak reported in cupboard at 4 the Orchard traced leak to water meter in flat above (15) access to this flat the door is open leak quite bad please resolve Urgently . No Covid 19.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7410
SECTION 3: Report
LPC 12.4.21 1315 - 1555 Arrived on site and gained access to building , then proceeded to flat 15. Found that CW water meter had been isolated, due to a leak . Tested meter and to be leaking internally , from behind the dial - not repairable . Phoned around to our usual suppliers and managed to locate 1 x in stock , left site and collected from supplier . Returned to site and fitted new water meter as req , tested for leaks all ok . Monitored functions and performance, found to be ok . Old meter readings - 00134 New meter readings - 00000

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7410
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7410
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7410
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7410
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7410
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes