## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Eldon Court
Clavering Street
Willington Quary
NE28 6SW
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-7412
DATE OF REPORT: 12/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7412
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Unit 1 Hunslet Trading Estate
Servern Way
Hunslet
Leeds
LS10 1BL
Site Address | Eldon Court
Clavering Street
Willington Quary
NE28 6SW
Carried Out On | 12/04/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
Numbers , 7,8,9,10,11,16,17,18,19,15,16,14, and guest room no hot water No hot water since the weekend, please treat as urgent.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7412
SECTION 3: Report
Mixer showers in flats 11 and 10 passing, isolated both units all apartments have hot water. New shower cartridges required in apts 11 and 10.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7412
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7412
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7412
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7412
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7412
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes