## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Unit 4 Offices
Labone
Castleside
DH8 8HF
CARRIED OUT ON BEHALF OF
Labone Castleside Limited
REPORT NUMBER: 21-7431
DATE OF REPORT: 19/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7431
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Labone Castleside Limited
Address | Castleside Industrial Estate
Consett
County Durham
DH8 8HF
Site Address | Unit 4 Offices
Labone
Castleside
DH8 8HF
Carried Out On | 14/04/2021 19/04/2021 19/04/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Unit 4 Offices Boiler gone off - including display screen

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7431
SECTION 3: Report
Attend site 1315 for boiler not working Sign in and gain access carry out tests and find pcb faulty on the vailiant ecotec exclusive 838 combi boiler, no wholesalers have the parts In stock so order one. Factory shut down from tonight until Monday morning so arranged with site to reatend on Monday 19th to carry out repairs Offsite 14.30 fow Pick up parts and attend site 19/04/21 1415 Strip boiler down and remove faulty pcb , replace and set up the pcb yo the boiler model. Comission and test ratio 0009 Co 67 Co2 9.1 All ok wait until heating up to temp and water temp checked at all outlets Parts used 1 no v ailliant pcb Offsite 1530 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7431
SECTION 4: Photos
Room / Area
Description
Notes
Data badge
Room / Area
Description
Notes
Boiler now working
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7431
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7431
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7431
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7431
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes