## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
6 Waterfront Gardens
Consett
County Durham
DH68 6LQ
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-7432
DATE OF REPORT: 14/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7432
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 6 Waterfront Gardens
Consett
County Durham
DH68 6LQ
Carried Out On | 14/04/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Bottom half of living room radiator is only lukewarm - issued by DG

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7432
SECTION 3: Report
After inspection radiator seemed to be piped differently to others. System drained radiator taken off pipe work amended and radiator re installed. Full radiator heating up when left the job, tenant says it’s the hottest the system has ever been.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7432
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7432
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7432
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7432
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7432
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes