## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 St Cuthberts Close
Hexham
Northumberland
NE46 2HU
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7443
DATE OF REPORT: 19/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7443
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 7 St Cuthberts Close
Hexham
Northumberland
NE46 2HU
Carried Out On | 19/04/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Under floor heating in the bathroom is not heating up. Person with a disability;Long Term Health Issues

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7443
SECTION 3: Report
Onsite 0915 Gain access to underfloor heating manifold check al, components are operating correctly and boiler is operating correctly, all ok Increased the flow rate on each restricter to 1.5 ltr per min and increase the temp to 55° as the manifold is boxed in with no ventilation and the tmv is shutting down. The bathroom and hallway circuits are fed off the hallway room stat so tennant can't have just the bathroom on. Boxing in needs to have ventilation increased high and low to improve air flow to manifold Had to take skirting board off in cuboard to get access to take boxing in out ive supplied photos and taken vent off to allow air flow Offsite 1015 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7443
SECTION 4: Photos
Room / Area
Description
Notes
Had ro remove skirting board to be able to remove the boxing in out
Room / Area
Description
Notes
Remove the grill to improve air flow in the boxing in where the manifold is
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7443
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7443
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7443
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7443
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes