## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
12 Aged Miners Homes
Silksworth
Sunderland
SR3 1DE
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-7445
DATE OF REPORT: 15/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7445
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 12 Aged Miners Homes
Silksworth
Sunderland
SR3 1DE
Carried Out On | 15/04/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
Flushed toilet at 4pm and the cistern is still filling.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7445
SECTION 3: Report
Dual flush valve not seating correctly and discharging into bowl. Dismantled flush valve, corrected washer position and reassembled.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7445
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7445
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7445
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7445
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7445
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes