## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Percy Lodge
St Johns Terrace
North Shields
NE29 6JT
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-7448
DATE OF REPORT: 13/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7448
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Percy Lodge
St Johns Terrace
North Shields
NE29 6JT
Carried Out On | 16/04/2021
Survey Completed By | David Hunter
SECTION 2: Introduction
Flat 2 Communal Boiler No HHW to block

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7448
SECTION 3: Report
Arrived on site to find all boilers up to temperature. All controls set to automatic and no demand to pumps. Once pump sets changed to manual all components were operational. Follow on works for BMS investigation.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7448
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7448
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7448
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7448
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7448
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes