## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1-58 Weavers Court
Swordy Drive
Alnwick
NE66 1SZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7449
DATE OF REPORT: 27/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7449
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1-58 Weavers Court
Swordy Drive
Alnwick
NE66 1SZ
Carried Out On | 21/04/2021, 27/04/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Check possible issue with the underfloor heating. I reported an issue with water marks on the ceiling in the hallway and hallway cupboard apartment 16. A joiner already onsite had a look and suggested Zenith Mechanical were required to look at a possible issue with the underfloor heating. Please could someone check this request for Zenith is in hand and also request them for the same issue in the hallway cupboard of apartment 19. Thanks

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7449
SECTION 3: Report
Attend site 0815 for possible water leak Wait for tennant to get ready and investigate the water staining on the ceiling in hall way, ask for success to flat 35 directly above 16 and check for leak in kitchen, check all pipework under sink find no issues, either on supply or waste pipework. Gain access to under floor heating pipework visually check for any leaks find nothing. So isolate the manifold and note pressure 1.3bar, leave for 60 mins and return to room 35 and check pressure and find 1.1bar , suspect a leak on the under floor pipework this needs to be pressure tested and a return visit with the heat source camera to see if a leak can be identified. Fow need to put a plan to investigate further. Offsite 1200 Attend site 1115 Gain access to flat 35 and switch heating on wait for heating to get up to temperature and using the heat source camera trace all the under floor pipework and check for leaks , no leaks found so put a pressure test on the manifold and pressure all ok no drop, Check the marking on the ceiling in flat 16 below and find the stain hasn't spread since last week . The leak doesn't seem to be from the under floor heating but hasn't go worse since last week. Offsite 1430 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7449
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7449
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7449
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7449
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7449
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes