## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Flats 2 & 3 Holborn House
South Shields
NE33 1EA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7452
DATE OF REPORT: 13/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7452
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Flats 2 & 3 Holborn House
South Shields
NE33 1EA
Carried Out On | 16/04/2021
Survey Completed By | David Hunter
SECTION 2: Introduction
Emergency - No heating/HW Local councillor has made KH aware and support worker has contacted flats 2 & 3 who say they have no heating or hot water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7452
SECTION 3: Report
Flat 2 - Attended site at 2.30PM to complete a full mechanical assessment, the tenant was unaware of our arrival and wouldn't allow this. With this being the case i obtained thermal images of all HW outlets, these images confirm a minimum of 39.9 and maximum of 47.4 degrees being supplied. Access will need to be arranged to asses the HIU unit mechanically. Flat 3 - Attended site at 4.30PM, on initial attendance the HIU unit was visually checked to see if the individual actuators responded to demand via running a tap/selecting demand on the room thermostats. the heating actuator was found to be unresponsive initially, upon removing the actuator from the valve body the internal mechanism was found to be stiff. After freeing up the internal mechanism to the point the actuator will comfortably be able to move this alone the actuator was repositioned to the valve body. Once the actuator head was re seated the heating system functioned correctly, the tenant was shown the radiator temperatures via thermal imaging camera, once satisfied with the heating system the hot water function was checked, at all outlets. The domestic hot water flow rate and pressure were increased at the outlets and a full bath was ran to prove the unit could cope with the maximum demand within the flat with the tenant present, please note the water being supplied was at 44.3 degrees. Please see images. No further works required within flat 3.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7452
SECTION 4: Photos
Room / Area
Description
Bath Hot Water Outlet Temperature
Notes
Room / Area
Kitchen Sink Hot Water Outlet Temperature
Description
Notes
Room / Area
Bedroom Radiator
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7452
SECTION 4: Photos
Room / Area
Bathroom Radiator
Description
Notes
Room / Area
Lounge Radiator 1 of 2
Description
Notes
Room / Area
Lounge Radiator 2 of 2
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7452
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7452
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7452
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes