## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
2 Surtees Place
Consett
County Durham
DH8 0LP
CARRIED OUT ON BEHALF OF
Mr Connal Reed
REPORT NUMBER: 21-7471
DATE OF REPORT: 19/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7471
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Mr Connal Reed
Address | 2 Surtees Place
Consett
County Durham
DH8 0LP
Site Address | 2 Surtees Place
Consett
County Durham
DH8 0LP
Carried Out On | 16/04/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
Water coming from boiler

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7471
SECTION 3: Report
Leak traced to main heat exchanger connections, Boiler vaillant ecotec pro 28 R1 gc 4704430 Part difficult to identify/source Part not available as individual item, comes with connection tube. Part identified as 20068958

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7471
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7471
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7471
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7471
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7471
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes