## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Percy lodge
St. John’s terrace
North shields
Ne29 6jt
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-7482
DATE OF REPORT: 17/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7482
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Percy lodge
St. John’s terrace
North shields
Ne29 6jt
Carried Out On | 17/04/2021
Survey Completed By | David Hunter
SECTION 2: Introduction
Luke warm radiators

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7482
SECTION 3: Report
BMS investigation required Display not functioning on BMS panel to determine set point for building. 3 port valve manually opened to allow full heat transfer to the building until a BMS engineer can determine correct set points and control functions. Radiators in communal spaces checked for correct temperature before leaving site, flat no2 was called at but there was no response from the tenant at the door or from the contact number provided on works orders.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7482
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7482
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7482
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7482
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7482
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes