## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Whinstone Lodge
Front Street
Monkseaton
NE25 8DB
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-7495
DATE OF REPORT: 19/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7495
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Whinstone Lodge
Front Street
Monkseaton
NE25 8DB
Carried Out On | 19/04/2021
Survey Completed By | Lee Chatterton
SECTION 2: Introduction
Boiler 2 is tripping out at Whinstone Lodge, water is not heating as it should (only 41degrees) Please treat as Urgent

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7495
SECTION 3: Report
LPC 19.4.21 1135 - 1310 Arrived on site and gained access to building, collected key and proceeded to plantroom . Found RHS Lochinvar water heater in failed ignition error, reset and monitored same fault occurred. Carried out a series of tests and found that the ignition electrode , was dirty and warped out of shape , producing a weak spark. Cleaned electrode with steel brush , carefully bent back to correct shape. Refitted electrode and tested appliance , this time it fired up first attempt and ran . Monitored functions and performance, found to be working ok . Pulled the DHW through to the building as req , DHW temps back to normal .

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7495
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7495
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7495
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7495
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7495
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes