## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 Ullswater Court
Eastfields
Stanley
DH9 7DQ
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-7504
DATE OF REPORT: 20/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7504
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 1 Ullswater Court
Eastfields
Stanley
DH9 7DQ
Carried Out On | 19/04/2021, 20/04/2021
Survey Completed By | Tom Reynolds
SECTION 2: Introduction
Toilet push button flush keeps bouncing out of housing when used - toilet still working as resident able to get it back in place. Please ring before calling 01207 230863. iss sh

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7504
SECTION 3: Report
Attended site, to find the top of the flush in the cistern was broken and unable to flush without the buttons piping out of the top. When trying to undo the nuts to remove the cistern found they were badly seized and bolts rounded, being unable to remove the cistern from the pan Tom and I suggest replacing the whole pan. Water turned back on and cistern was not leaking. Will be okay for use over night until replacement.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7504
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7504
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7504
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7504
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7504
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes