## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Pembroke Court
Hylton Lane
Downhill
SR5 4DF
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 21-7530
DATE OF REPORT: 21/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7530
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Pembroke Court
Hylton Lane
Downhill
SR5 4DF
Carried Out On | 20/04/2021, 21/04/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Commercial Boiler -uncontainable leak and rad too hot in flat 19 - Radiator in hallway in flat 19 is red hot so there is a chance of scalding - other radiators are cold. Thermostat is also faulty. ----

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7530
SECTION 3: Report
1/2” male drain cock required, internals are leaking this has already been looked at multiple times. Dave Aston to be booked in to replace part using wet vac Attend site 1700 tennant explained that they have no heating, check 2 port valve and find actuator not operating, . Isolate valve and strip out head change actuator for new honeywell head check operation and commission and test all ok. Parts used honeywell 2 port valve Offsite 1830 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7530
SECTION 4: Photos
Room / Area
Description
Notes
New actuator fitted
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7530
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7530
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7530
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7530
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes