## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
9 Marmion Close
Hartlepool
County Durham
TS25 1UH
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7543
DATE OF REPORT: 20/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7543
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 9 Marmion Close
Hartlepool
County Durham
TS25 1UH
Carried Out On | 20/04/2021
Survey Completed By | Lee Chatterton
SECTION 2: Introduction
Replacement boiler required.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7543
SECTION 3: Report
LPC 20.4.21 Boiler is a Vailant ecotec pro 28 , installed in the kitchen area. Condensate tees into waste below boiler. The gas meter is less than 1 metre away , with 22 mm gas supply present. The only other gas appliance is the cooker, next to the boiler. The boiler has a combi mate filtration unit installed in the sink cupboard. 2 x 45 elbows have been used for the flue internally, with a ploom diverter externally . The flue terminal is less than 300 mm from the window , but the window does not open . Internal programmer with room stat in hall way . 8 rads in total piped in 10 mm copper , with TRVS but all the heads are missing . All rads seem to be in good condition , with no signs of corrosion . Images taken and sent of installation etc .

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7543
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7543
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7543
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7543
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7543
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes