## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Cragside Court Flat 22
Off Cragside Gardens
Lobley Hill
NE11 0AW
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 21-7544
DATE OF REPORT: 17/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7544
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Cragside Court Flat 22
Off Cragside Gardens
Lobley Hill
NE11 0AW
Carried Out On | 22/04/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Mrs Summers of Flat 22 Tel:01914606670 advises that the kitchen radiator is very hot and she has no way of regulating the temperature as there is no TVR.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7544
SECTION 3: Report
Attend site 0800 Isolate heating in flat drain down kitchen radiator and strip out faulty trv, install new and fill and vent system, test operation of new trv all ok. Parts used 1 no peglar 15mm trv Offsite 1000 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7544
SECTION 4: Photos
Room / Area
Description
Notes
Old trv and lockshield ready for removal
Room / Area
Description
Notes
Trv and lockshield swapped over so tennant can use
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7544
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7544
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7544
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7544
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes